## Sheet1
57.5
22.5
57.2
22.5
56.9
22.5
56.6
22.5
56.3
22.5
56
22.4
55.8
22.5
65.8
22.5
Breaker trip due to high humidity
72.2
Breaker trip due to high humidity
73.5
Breaker trip due to high humidity
74.5
Breaker trip due to high humidity
75.2
Breaker trip due to high humidity
75.2
Breaker trip due to high humidity
74.5
Breaker trip due to high humidity
73.8
Breaker trip due to high humidity
72.7
Breaker trip due to high humidity
71.7
Breaker trip due to high humidity
70.9
70
22.8
69.5
22.7
68.6
22.7
67.9
22.7
67.4
22.7
66.8
22.6
66.2
22.7
65.7
22.7
65.1
22.7
64.6
22.6
63.9
22.6
63.3
22.6
62.8
22.5
62.3
22.5
61.6
22.5
61.1
22.5
60.7
22.5
60.3
22.5
59.9
22.5
59.6
22.5
59.2
22.5
58.9
22.5
58.5
22.5
58.2
22.4
57.9
22.4
Unable to read sensor
52.8
22.4
57.1
22.4
57
22.4
56.8
22.4
56.7
22.4
56.6
22.4
56.6
22.4
56.5
22.4
56.3
22.4
56.1
22.4
55.9
22.4
55.7
22.3
55.5
22.3
55.4
22.3
55.2
22.3
55
22.3
54.8
22.3
54.7
22.3
54.5
22.3
54.4
22.3
54.2
22.3
54
22.3
54
22.2
53.9
22.2
53.8
22.2
53.7
22.2
53.6
22.2
53.5
22.2
53.4
22.2
53.3
22.2
53.4
22.2
53.4
22.2
53.5
22.2
53.5
22.3
53.5
22.3
54
22.3
54.3
22.3
54.3
22.3
54.3
22.3
54.2
22.4
54.1
22.4
53.9
22.4
53.7
22.4
57
22.4
57.9
22.4
57.5
22.4

## Data In
Data In (From Arduino Uno (COM3))
Data coming from the current data source will appear below as it is received.
Current Data
TIME | CH1 | CH2 | CH3 | CH4 | CH5 | CH6 | CH7 | CH8 | CH9 | CH10
45752.7849 | CH1: 22.2
Historical Data
TIME | CH1 | CH2 | CH3 | CH4 | CH5 | CH6 | CH7 | CH8 | CH9 | CH10
45752.7847 | CH1: 22.2
45752.7847 | CH1: 49.6
45752.7847 | CH1: 22.2
45752.7847 | CH1: 49.6
45752.7847 | CH1: 22.2
45752.7848 | CH1: 49.6
45752.7848 | CH1: 22.2
45752.7848 | CH1: 49.6
45752.7848 | CH1: 22.2
45752.7848 | CH1: 49.5
45752.7848 | CH1: 22.3
45752.7848 | CH1: 49.6
45752.7848 | CH1: 22.2
45752.7849 | CH1: 49.6
45752.7849 | CH1: 22.2
◀ Newest

## Data Out
Data Out (To Device)
Data entered into the channels below will be sent to the currently connected device as a comma-delimited string.
CH1 | CH2 | CH3 | CH4 | CH5 | CH6 | CH7 | CH8 | CH9 | CH10

## Settings
Workbook Settings
Settings below will affect how data is read into the current workbook from data sources. Clear a field's contents to revert to its default setting.
Data interval (ms) | 150 | 150
Data rows | 15 | 15
Data channels | 10 | 10
Data orientation | Newest last | Newest last
WARNING: Changing settings may result in the loss of content and/or custom formatting in the Data In and Data Out worksheets. Always save before changing values.

## Manifest
Arduino Uno | [8 empty] | {"Channels":[{"Description":null,"Id":null,"IsGhost":false,"Name":null,"Status":"Active","SubChannels":[{"Description":null,"Id":"CH1","IsGhost":false,"Name":"CH1","Status":"Active","SubChannels":[],"UnitOfMeasure":null},{"Description":null,"Id":"CH2","IsGhost":false,"Name":"CH2","Status":"Active","SubChannels":[],"UnitOfMeasure":null},{"Description":null,"Id":"CH3","IsGhost":false,"Name":"CH3","Status":"Active","SubChannels":[],"UnitOfMeasure":null},{"Description":null,"Id":"CH4","IsGhost":false,"Name":"CH4","Status":"Active","SubChannels":[],"UnitOfMeasure":null},{"Description":null,"Id":"CH5","IsGhost":false,"Name":"CH5","Status":"Active","SubChannels":[],"UnitOfMeasure":null},{"Description":null,"Id":"CH6","IsGhost":false,"Name":"CH6","Status":"Active","SubChannels":[],"UnitOfMeasure":null},{"Description":null,"Id":"CH7","IsGhost":false,"Name":"CH7","Status":"Active","SubChannels":[],"UnitOfMeasure":null},{"Description":null,"Id":"CH8","IsGhost":false,"Name":"CH8","Status":"Active","SubChannels":[],"UnitOfMeasure":null},{"Description":null,"Id":"CH9","IsGhost":false,"Name":"CH9","Status":"Active","SubChannels":[],"UnitOfMeasure":null},{"Description":null,"Id":"CH10","IsGhost":false,"Name":"CH10","Status":"Active","SubChannels":[],"UnitOfMeasure":null}],"UnitOfMeasure":null}],"Commands":[],"DataInterval":150,"Id":"98DD34C7-F494-4A31-ACDA-9A9F614AF41F","IsGenerated":true,"Name":"Arduino Uno","Version":null,"BaudRate":9600}
This manifest was generated for the connected device. You can edit the device name and channel data here and the Data In worksheet will be updated.
Channels
Data Source Id
|  | Id | Name | Description | Unit of Measure | Active | 98DD34C7-F494-4A31-ACDA-9A9F614AF41F | 1
|  | CH1 | CH1 |  |  | ü | Data Interval (ms)
|  | CH2 | CH2 |  |  | ü | 150
|  | CH3 | CH3 |  |  | ü | Baud Rate
|  | CH4 | CH4 |  |  | ü | 9600
|  | CH5 | CH5 |  |  | ü
|  | CH6 | CH6 |  |  | ü
|  | CH7 | CH7 |  |  | ü
|  | CH8 | CH8 |  |  | ü
|  | CH9 | CH9 |  |  | ü
|  | CH10 | CH10 |  |  | ü